## Slide 1: GPU-Accelerated Medical Image Analysis
Case study: processing CT and MRI scans with CUDA on an NVIDIA GeForce RTX 5060
Parallel & Distributed Systems | Case Study | Team of 6
October 2026
CT reconstruction
MRI
U-Net segmentation
3D volume rendering
Notes: This case study shows how GPU computing speeds up CT and MRI processing. Everything in the deck was built and measured by our team: a pipeline of CT reconstruction, MRI reconstruction, 3D denoising, threshold and deep-learning segmentation, and 3D rendering, each written for CPU and GPU, including four hand-written CUDA kernels, benchmarked on an RTX 5060. The four images are real outputs of our code.

## Slide 2: Team, roles and flow of the presentation
MEMBER 1 · MEDICAL IMAGING & PROBLEM DEFINITION
1
Member 1
Medical imaging & problem
CT vs MRI, data formats, data sources, problem statement
Slides 1–6
2
Member 2
GPU architecture
Preprocessing, image operations, CPU vs GPU, thread & memory hierarchy
Slides 7–11
3
Member 3
Algorithms & system
Gaussian filter, Otsu threshold, U-Net, CPU/GPU workflow, data movement
Slides 12–17
4
Member 4
Implementation
Code walkthrough of every stage, output images, CPU vs GPU validation
Slides 18–24
5
Member 5
Performance
Benchmark design, timings, speedup, scaling, transfer cost
Slides 25–28
6
Member 6
Discussion
Challenges, real-world use, future scope, conclusion, references
Slides 29–32
Notes: Six members, six parts. The flow goes from the medical problem, to the GPU hardware, to the algorithms, to our actual code, to the measured performance, and finally the discussion.

## Slide 3: How CT works: X-ray projections → sinogram → image
MEMBER 1 · MEDICAL IMAGING & PROBLEM DEFINITION
patient
X-ray
detector row (D bins)
Tube and detector rotate 180°+; one projection per angle
What is measured
Each detector bin records how much X-ray is absorbed along one line
Radon transform: p(θ, t) = ∫∫ f(x, y) δ(x cos θ + y sin θ − t) dx dy
All projections stacked = sinogram, A angles × D detectors
Reconstruction inverts this (stage 1: filtered back projection)
Our sinogram: 256 angles × 256 detectors
Hounsfield units (HU): how CT stores intensity
Tissue | Air | Fat | Water | Soft tissue | Bone
HU value | -1000 | -100 to -50 | 0 | +20 to +80 | +400 to +3000
In our data: the real head CT is stored as 16-bit integers (0–3272), 113 axial slices of 256 × 256, 2 mm apart.
Notes: A CT scanner rotates an X-ray tube and detector around the patient. Each detector reading is the total absorption along one line, so the scanner measures line integrals, mathematically the Radon transform. Stacking all angles gives the sinogram on the right; each point in the body traces a sine curve, hence the name. The image must be computed from it, which is our stage 1. CT intensities are in Hounsfield units: air -1000, water 0, bone several hundred to thousands. That is why bone is bright and air is black.

## Slide 4: How MRI works: magnetic signals sampled in k-space
MEMBER 1 · MEDICAL IMAGING & PROBLEM DEFINITION
1 Magnet
B₀ field (1.5–3 T) aligns hydrogen protons
2 RF pulse
tips the protons; they emit a radio signal as they relax
3 Gradients
make frequency and phase depend on position
4 Sample
one line of k-space per repetition (TR)
5 Inverse FFT
turns k-space into the image
The maths
Signal: s(kx, ky) = ∫∫ m(x, y) · e^(−i2π(kx·x + ky·y)) dx dy, a 2D Fourier transform
So the image is m(x, y) = IFFT2{ s(kx, ky) }
Centre of k-space = contrast; edges = fine detail
256 phase-encode lines × TR (e.g. 2 s) ≈ 8.5 min for one 2D series, so MRI is slow
Measuring only 1 in 4 lines makes it 4× faster but causes aliasing; our stage 2 removes it
k-space (log magnitude)
image after inverse FFT
Our data: real T1 brain MRI, 109 sagittal slices, 256 × 256, 16-bit (values 1026–5119)
Notes: MRI uses a strong magnet and radio pulses instead of X-rays. Gradient coils make the signal frequency depend on position, so what the scanner records is the Fourier transform of the image, called k-space. The image is recovered with an inverse FFT, which is why FFT speed matters so much. MRI is slow because it fills k-space one line at a time; skipping lines speeds up the scan but creates aliasing, which our iterative reconstruction fixes.

## Slide 5: Data formats and where our data comes from
MEMBER 1 · MEDICAL IMAGING & PROBLEM DEFINITION
Dataset | Real? | Origin | Format → how we read it | Size | Used in
Head CT (CThead) | Real | Stanford Volume Data Archive | raw 16-bit big-endian, no header → np.fromfile('>u2') | 113 × 256², 14.8 MB | Threshold, 3D render
Brain MRI (MRbrain) | Real | Stanford Volume Data Archive | raw 16-bit big-endian → np.fromfile('>u2') | 109 × 256², 14.3 MB | MRI recon
Shepp-Logan phantom | Simulated | Shepp & Logan 1974, generated in code | float32 arrays (2D 128–512 px, 3D 64³–256³) | up to 67 MB | CT recon, denoising
Lesion slices | Simulated | our generator (seeded, reproducible) | float32 images + exact binary masks | 2,200 × 128² | U-Net, threshold test
Clinical standard: DICOM
One file per slice: header tags + pixel data
PixelSpacing / SliceThickness give voxel size in mm (needed for resampling)
HU = raw × RescaleSlope + RescaleIntercept
Patient tags must be removed before research use (anonymisation)
Why use simulated data at all?
Accuracy needs a known correct answer: the phantom is the exact truth for CT reconstruction
Lesion masks are exact, so Dice is measured precisely
Large labelled clinical sets (e.g. Medical Segmentation Decathlon) need registration and GBs of download
Notes: Two of our datasets are real scans from the Stanford Volume Data Archive, a public research archive. They are raw 16-bit big-endian files without headers, so we read them with numpy fromfile using the big-endian format code. In hospitals data comes as DICOM: a header with voxel spacing and a rescale formula to Hounsfield units, plus pixel data. We also used simulated data on purpose, because to measure accuracy you need the exact correct answer.

## Slide 6: Problem statement, motivation and applications
MEMBER 1 · MEDICAL IMAGING & PROBLEM DEFINITION
PROBLEM STATEMENT
CT/MRI pipelines process 10⁷–10⁹ voxels per study and take seconds to minutes on a CPU. Can GPU parallelism make them interactive without changing the result?
Motivation
Size: one 512 × 512 × 1,000 CT = 524 MB; a 4D cardiac CT ≈ 10 GB
Work grows with N³: doubling resolution = 8× more voxels
Time: 1.9 M neurons lost per minute of untreated stroke (Saver, 2006)
Workload: radiologists have 3–4 s per image (McDonald et al., 2015)
Our CPU baseline: 32.2 s for one study through our pipeline
Applications that need fast processing
Stroke & trauma triage
Surgical navigation
Radiotherapy planning
Tumour detection & volume
Faster, low-dose scans
3D visualisation
Objectives: build a CPU + GPU pipeline · write our own CUDA kernels · measure speedup and scaling · prove outputs are identical
Notes: Our problem statement: medical pipelines touch tens of millions to billions of voxels and are slow on a CPU. We ask whether GPU parallelism makes them interactive with identical results. The motivation is data size, cubic growth with resolution, and time-critical care. Applications range from stroke triage to radiotherapy planning. Our four objectives are listed at the bottom; the rest of the talk answers each one.

## Slide 7: Preprocessing: raw scan → GPU-ready arrays
MEMBER 2 · GPU ARCHITECTURE & PARALLEL COMPUTING
Type conversion
16-bit integers → float32 (4 bytes / voxel), the type our kernels use
Normalisation
CT: v' = clip(v / p99.9, 0, 1). MRI: v' = clip((v − p1)/(p99.5 − p1), 0, 1). Robust to outliers
Resampling
CT slices 2 mm vs 1 mm pixels → trilinear interpolation to isotropic voxels (113 → 226)
Noise model
Low-dose CT simulated: v + N(0, 0.08²) on the phantom
k-space
MRI slice → FFT → 4× undersampling mask (8% centre lines + random lines)
Layout
Contiguous C-order arrays [slice][row][col], so neighbouring threads read neighbouring addresses
Notes: Before any GPU work, raw data is converted. Integers become float32. Intensities are normalised to the range 0 to 1 using percentiles so a few extreme voxels do not dominate. The CT has 2 mm slices but 1 mm pixels, so we resample with trilinear interpolation; panel 2 shows the squashed head before and panel 3 the corrected one. Panel 4 shows why normalisation matters: the raw MRI uses only a tiny part of the 16-bit range. Finally the arrays are stored contiguously so GPU memory access is coalesced.

## Slide 8: Image operations and the parallel pattern behind each
MEMBER 2 · GPU ARCHITECTURE & PARALLEL COMPUTING
Operation type | Where in our pipeline | Parallel pattern | Reads per output | GPU mapping we used
Point operation | normalise, threshold labelling | Map | 1 | 1 thread per voxel, fully independent
Neighbourhood (stencil) | 5×5×5 Gaussian filter | Stencil | 125 | 3D blocks + shared-memory tile with halo
Histogram | Otsu threshold | Reduction with atomics | 1 (but many writers / bin) | per-block private histogram in shared memory
Global transform | FFT in MRI recon | Butterfly (log₂N stages) | all inputs | cuFFT library
Gather | FBP back-projection, resampling | Gather (irregular reads) | A (angles) = 256 | 1 thread per pixel, read-only cache (__ldg)
Ray marching | MIP / volume rendering | Map + scan along ray | depth = 256 | 1 ray per pixel, cumulative product
Convolution layers | U-Net | Dense matrix multiply | kernel × channels | cuDNN on Tensor Cores (FP16)
Key idea: identify the pattern first. Map and gather need no communication; stencils reuse neighbours (shared memory); histograms need atomics; FFT and GEMM are best left to tuned libraries.
Notes: Every image operation in our project falls into a classic parallel pattern. Point operations are a map, the easiest case. Filtering is a stencil, where neighbouring outputs share inputs, so shared memory helps. A histogram is a reduction where many threads write the same bin, so it needs atomic operations. The FFT is a butterfly network, best handled by cuFFT. Back-projection is a gather with irregular reads. Rendering marches along rays, and neural network layers are matrix multiplications on Tensor Cores.

## Slide 9: CPU vs GPU: latency vs throughput
MEMBER 2 · GPU ARCHITECTURE & PARALLEL COMPUTING
CPU: few complex cores
Control
Core
Core
Core
Core
Core
Core
Large caches (32 MB L3)
GPU: thousands of simple cores
each square ≈ 1 group of cores; 30 SMs × 128 cores in total
 | CPU: AMD Ryzen 5 7600 | GPU: NVIDIA RTX 5060
Cores | 6 cores / 12 threads | 30 SMs / 3,840 CUDA cores + Tensor Cores
Design goal | low latency for one thread (big caches, branch prediction, out-of-order) | high throughput for many threads (hide latency by switching warps)
Peak FP32 (approx.) | ≈ 1 TFLOPS (AVX-512, all cores) | ≈ 19 TFLOPS
Memory | system DDR5, ≈ 60–80 GB/s | 8 GB GDDR7, 448 GB/s
Threads in flight | 12 | tens of thousands (we launched up to 16.8 M per kernel)
Notes: A CPU spends its transistors on making one thread fast: caches, branch prediction, out-of-order execution. A GPU spends them on many simple cores and hides memory latency by switching between thousands of threads. Our GPU has about 19 times the peak floating-point throughput and 6 times the memory bandwidth of our CPU. Medical images suit the GPU because millions of voxels need the same operation.

## Slide 10: CUDA thread hierarchy: grid → block → warp → thread
MEMBER 2 · GPU ARCHITECTURE & PARALLEL COMPUTING
(0,0)
(1,0)
(2,0)
(0,1)
(1,1)
(2,1)
(0,2)
(1,2)
(2,2)
Grid of blocks (blockIdx)
Block = threads (threadIdx) sharing shared memory and __syncthreads(); gray row = 1 warp of 32 threads
// global 3D index of this thread
int x = blockIdx.x*blockDim.x + threadIdx.x;
int y = blockIdx.y*blockDim.y + threadIdx.y;
int z = blockIdx.z*blockDim.z + threadIdx.z;
if (x < W && y < H && z < D) out[(z*H+y)*W+x] = f(...);
Rules that shape our kernels
Warp = 32 threads executing the same instruction (SIMT). If threads in a warp take different branches, both paths run (divergence)
Blocks are scheduled on SMs; several blocks per SM keep it busy (occupancy) while others wait for memory
Threads in a block can share fast memory and synchronise; different blocks cannot, so each block must be independent
Max 1024 threads per block; we use 256–512
Our kernel | Block | Grid | Threads | Warps / block
FBP back-projection | 16×16 | 16×16×128 | 8.4 M | 8
3D convolution | 8×8×8 | 32×32×32 | 16.8 M | 16
Histogram (grid-stride) | 256 | 240 (= 30 SMs × 8) | 61 k | 8
Label (threshold) | 256 | 28,928 | 7.4 M | 8
Notes: CUDA organises threads in a hierarchy. A grid of blocks covers the whole volume; each block holds up to 1024 threads that can share memory and synchronise. The hardware runs threads in warps of 32 in lockstep, so branches that split a warp cost time. The code shows how each thread computes which voxel it owns. The table lists the exact launch configuration of each of our kernels. The histogram uses a grid-stride loop: a fixed 240 blocks, each thread looping over many voxels.

## Slide 11: GPU memory hierarchy and how we used each level
MEMBER 2 · GPU ARCHITECTURE & PARALLEL COMPUTING
GeForce RTX 5060 (Blackwell)
SM 0
128 CUDA cores
Tensor Cores
Registers
Shared mem / L1
SM 1
128 CUDA cores
Tensor Cores
Registers
Shared mem / L1
… SM 29
128 CUDA cores
Tensor Cores
Registers
Shared mem / L1
L2 cache (shared by all SMs)
Global memory: 8 GB GDDR7, 448 GB/s
PCIe: 11.8 GB/s measured
Host: CPU + system RAM
Level | Scope / size | Speed | Used for
Registers | per thread | 1 cycle | accumulators (acc) in every kernel
Shared memory | per block, ≤ 128 KB / SM | ≈ 20–30 cycles | 12³ halo tile (6.9 KB); 256-bin histogram (1 KB)
Constant memory | 64 KB, broadcast | fast if all threads read same address | cos/sin tables (FBP), 125 filter weights
Read-only cache | via __ldg() | cached global reads | sinogram reads in back-projection
Global memory | 8 GB | ≈ 400–600 cycles | volumes, sinograms, network weights
PCIe link | host ↔ device | 11.8 GB/s | upload scans, download results
Rule: load from global memory once, reuse from registers/shared memory many times, and cross PCIe as rarely as possible.
Notes: Each SM has registers, shared memory and caches; all SMs share the L2 and the 8 GB global memory. Global memory is hundreds of cycles away, and PCIe to the CPU is far slower again: we measured 11.8 GB/s. The table maps every level to how our code uses it: shared memory for the convolution tile and histogram, constant memory for lookup tables and filter weights, the read-only cache for the sinogram.

## Slide 12: Gaussian filtering: the maths of 3D denoising
MEMBER 3 · ALGORITHMS & SYSTEM ARCHITECTURE
Definition
Weight of a neighbour at offset (i, j, k): w(i,j,k) = exp(−(i² + j² + k²) / 2σ²) / Σ exp(...)
Output voxel: out(x,y,z) = Σᵢ Σⱼ Σₖ w(i,j,k) · in(x+i, y+j, z+k), with i, j, k ∈ {−2, …, 2}
Our settings: σ = 1 voxel, radius 2 → 5 × 5 × 5 = 125 weights, weights sum to 1 (brightness preserved)
Borders: clamp-to-edge (repeat the edge voxel), same as SciPy mode='nearest'
Work: 125 multiply-adds per voxel → 2.1 billion for a 256³ volume
Could be separable (3 passes × 5 taps = 15 ops), but we use the direct 125-tap form to study memory reuse
Centre slice (k = 0) of the kernel, × 10⁻³
 | j=-2 | j=-1 | j=0 | j=1 | j=2
i=-2 | 1.2 | 5.4 | 8.8 | 5.4 | 1.2
i=-1 | 5.4 | 24.0 | 39.6 | 24.0 | 5.4
i=0 | 8.8 | 39.6 | 65.3 | 39.6 | 8.8
i=1 | 5.4 | 24.0 | 39.6 | 24.0 | 5.4
i=2 | 1.2 | 5.4 | 8.8 | 5.4 | 1.2
Centre weight 65.3 × 10⁻³; corner weight 0.16 × 10⁻³
+3.3 dB
PSNR on 256³: 21.9 → 25.3 dB
Notes: A Gaussian filter replaces each voxel by a weighted average of its neighbours, with weights falling off with distance according to the Gaussian formula. With sigma 1 and radius 2 we have 125 weights; the table shows the middle slice, with the biggest weight in the centre. The weights sum to 1 so brightness is kept. That is 125 multiply-adds per voxel, 2.1 billion for a 256-cubed volume. The filter could be split into three 1D passes, but we kept the direct 3D form because it is the textbook case for studying memory reuse on the GPU.

## Slide 13: Naive vs shared-memory tiled Gaussian kernel
MEMBER 3 · ALGORITHMS & SYSTEM ARCHITECTURE
Naive kernel
Each thread reads its 125 neighbours straight from global memory. Neighbouring threads read mostly the same voxels again and again.
125 global reads / voxel · 4.2 ms
Tiled kernel
A block of 8×8×8 = 512 threads first copies a 12×12×12 tile (8 + 2×2 halo) into shared memory, waits at __syncthreads(), then reads all neighbours from the tile.
1728 / 512 = 3.4 global reads / voxel · 2.4 ms
Why tiling wins
37× fewer global memory reads per voxel
Shared memory is on-chip: ~20–30 cycles vs ~400–600
Filter weights in __constant__ memory: all threads read the same weight at once (broadcast)
Result: 1.75× faster than naive, 7.0 billion voxels/s
__global__ void conv_tiled(const float* in, float* out,
int D, int H, int W) {
__shared__ float tile[12][12][12]; // 6.9 KB
int tid = (tz*8 + ty)*8 + tx; // 0..511
// 1) cooperative load: 512 threads copy 1728 values
for (int i = tid; i < 12*12*12; i += 512) {
int lz = i/144, ly = (i/12)%12, lx = i%12;
tile[lz][ly][lx] = in[clamp(z0+lz)][clamp(y0+ly)]
[clamp(x0+lx)];
}
__syncthreads(); // tile complete
// 2) compute from shared memory only
float acc = 0.f;
#pragma unroll
for (dz..5) for (dy..5) for (dx..5)
acc += c_w[dz][dy][dx] *
tile[tz+dz][ty+dy][tx+dx];
out[(z*H + y)*W + x] = acc;
}
Notes: The naive kernel is correct but wasteful: neighbouring threads read almost the same 125 voxels from slow global memory. The tiled kernel first has all 512 threads of a block copy a 12-cubed tile, the 8-cubed output region plus a 2-voxel halo, into shared memory. After a barrier, every thread computes its sum from the tile. Global reads drop from 125 to 3.4 per voxel, and the kernel becomes 1.75 times faster. Weights sit in constant memory, which broadcasts one value to all threads of a warp.

## Slide 14: Threshold segmentation with Otsu's method on the GPU
MEMBER 3 · ALGORITHMS & SYSTEM ARCHITECTURE
Algorithm
Build a 256-bin intensity histogram
Otsu: choose t maximising between-class variance σ²_B(t) = ω₀(t)·ω₁(t)·(μ₀(t) − μ₁(t))²
Run Otsu twice on the same histogram: t1 = 0.24 (air | tissue), t2 = 0.59 (tissue | bone)
Label every voxel: 0 air, 1 soft tissue, 2 bone
GPU histogram: atomics problem
Millions of threads add to only 256 bins → collisions
Global atomics: 13 ms on 59 M voxels
Fix: each block counts in its own shared-memory histogram, then adds 256 totals: 0.75 ms
17.3× faster; result identical
289×
GPU vs CPU, 59 M voxels (23× incl. transfers)
0
voxels differ between CPU and GPU labels
Notes: Threshold segmentation is the classic baseline. First we build a 256-bin histogram of intensities. Otsu's method picks the threshold that best separates the histogram into two classes, by maximising the between-class variance. We apply it twice to the same histogram: once to split air from the head, then again above that threshold to split soft tissue from bone. The interesting GPU part is the histogram: millions of threads update only 256 counters, so global atomic adds collide. Giving each block a private histogram in shared memory and merging at the end is 17.3 times faster. The labelling itself is a simple map, one thread per voxel.

## Slide 15: Deep-learning segmentation: the U-Net
MEMBER 3 · ALGORITHMS & SYSTEM ARCHITECTURE
U-Net · 7.8 M parameters · input 1 × 128 × 128
32
32
64
64
128
128
256
256
black = encoder (2× conv3×3 + BN + ReLU, max-pool) · dark = 512-ch bottleneck · gray = decoder (up-conv + concat) · dashed = skip connections
Training setting | Value
Data | 2,000 train / 200 test slices, 128²
Loss | binary cross-entropy + Dice loss
Optimiser | Adam, lr 10⁻³, cosine schedule
Batch / epochs | 32 / 25 (62 steps per epoch)
Precision | FP16 autocast + GradScaler (Tensor Cores)
Memory layout | channels_last (NHWC) for cuDNN
Output | sigmoid > 0.5 → lesion mask
Why not just threshold? Lesions are both brighter and darker than the organ they sit in, so no single threshold works: even the best possible threshold (chosen using the answers) reaches Dice 0.11. The U-Net reaches 0.909.
Notes: The U-Net is an encoder-decoder network. The encoder halves the image size four times while increasing channels from 32 to 512, capturing context; the decoder upsamples back and skip connections bring back fine detail. We train with cross-entropy plus Dice loss, Adam, and FP16 mixed precision so the Tensor Cores are used. Why do we need it? Our lesions can be brighter or darker than their surroundings, so a threshold fails: the best possible one scores Dice 0.11, the U-Net 0.909.

## Slide 16: System architecture: CPU/GPU workflow of one stage
MEMBER 3 · ALGORITHMS & SYSTEM ARCHITECTURE
HOST (CPU)
PCIe
DEVICE (GPU)
1. Load + preprocess (NumPy, float32)
2. cudaMalloc (device buffers)
3. cudaMemcpy H→D
4. Launch kernel <<<grid, block>>>
5. Kernel runs on all SMs in parallel
6. Next kernel uses data still on GPU
7. cudaMemcpy D→H
8. Save / display
Stage | On CPU | Copied over PCIe | On GPU
CT reconstruction | phantom, sinogram (radon) | sinograms 34 MB in, volume out | cuFFT ramp filter → FBP kernel
MRI reconstruction | load + normalise | 10 slices in, images out | 200 × (TV step → FFT → data consistency → IFFT)
Denoise / threshold | load + normalise | volume in, result out | conv kernel / histogram → label kernels
U-Net / rendering | data generation, plots | batches / volume in, masks / frames out | cuDNN convolutions / grid_sample + ray casting
Notes: Every GPU stage follows the same eight steps. The CPU loads and preprocesses the data, allocates GPU memory and copies the input across PCIe. It then launches kernels; the kernel call returns immediately and the GPU runs it on all SMs. Several kernels can run back-to-back on data that stays on the GPU, for example FFT then filter then back-projection. Finally the result is copied back. The copies in gray are the expensive part we come back to in the performance section. The table shows what lives where for each stage.

## Slide 17: Software stack and data movement
MEMBER 3 · ALGORITHMS & SYSTEM ARCHITECTURE
Application
our Python pipeline: 7 scripts, 1 per stage + benchmark
Framework
PyTorch 2.14.1 (tensors on device='cuda')
GPU libraries
cuFFT (FFT) · cuDNN (convolutions) · cuBLAS (matrices)
Our kernels
fbp.cu · conv3d.cu · threshold.cu (CUDA C++, nvcc -O3 -arch=sm_120)
Runtime / driver
CUDA 13.4 toolkit, runtime API, NVIDIA driver
Hardware
NVIDIA GeForce RTX 5060 · 30 SMs · 8 GB
Python calls our kernels as compiled executables: data is written to a binary file, the kernel reads it, times itself with cudaEvent and prints JSON timings.
How much data crosses PCIe
Transfer | Size | Time
CT sinograms 128 × 256 × 256 float32 | 33.6 MB | 28 ms
Denoise volume 256³ float32, upload | 67.1 MB | 5.7 ms
Denoise volume 256³ float32, download | 67.1 MB | 7.4 ms
Threshold labels 59 M × uint8 | 59.2 MB | 4.4 ms
85%
of the denoising stage's GPU time is spent copying data (compute is only 2.4 ms)
Design choice: labels are sent back as uint8 (1 byte) instead of float32, so the download is 4× smaller.
Notes: This is the full software stack. At the top our Python scripts; PyTorch gives GPU tensors and calls NVIDIA's libraries; our own kernels are compiled with nvcc for the Blackwell architecture, sm_120. The right side shows the actual data crossing the PCIe bus. At about 11.8 GB/s, copying a 67 MB volume takes longer than filtering it on the GPU, so 85% of the denoising time is transfer. That is why data movement is a central design concern, and why we return labels as 1-byte integers.

## Slide 18: Implementation: code structure and how to run it
MEMBER 4 · IMPLEMENTATION & VISUALISATION
pds_present/
├─ src/kernels/
│ ├─ fbp.cu CT back-projection
│ ├─ conv3d.cu naive + tiled filter
│ └─ threshold.cu histogram + labels
├─ src/
│ ├─ common.py timing, nvcc build, PSNR
│ ├─ phantoms.py 2D/3D Shepp-Logan
│ ├─ ct_recon.py stage 1
│ ├─ mri_recon.py stage 2
│ ├─ filtering.py stage 3
│ ├─ threshold_seg.py stage 4a
│ ├─ segmentation.py stage 4b (U-Net)
│ ├─ visualize.py stage 5
│ └─ benchmark.py runs all, summary
├─ data/ CThead.npy, MRbrain.npy
└─ results/results.json + figures/
Script | Key functions | GPU part
common.py | timeit(), build_kernel(), run_kernel(), psnr() | compiles .cu with nvcc + MSVC on first use
ct_recon.py | sinogram(), filter_gpu(), fbp_gpu() | torch.fft + fbp.cu
mri_recon.py | make_mask(), fft2c(), tv_grad(), cs_recon() | same PyTorch code on 'cpu' or 'cuda'
filtering.py | gauss_kernel(), main() | conv3d.cu, F.conv3d (cuDNN)
threshold_seg.py | otsu(), cpu_pipeline(), gpu_pipeline() | threshold.cu
segmentation.py | make_dataset(), UNet, train_step() | autocast FP16, channels_last
visualize.py | rotate(), mip(), dvr() | grid_sample + cumprod on GPU
pip install -r requirements.txt
python src/benchmark.py # all stages
python src/benchmark.py --summary
Notes: The project has three CUDA files and one Python script per stage. common.py holds shared tools: timing with GPU synchronisation, compiling the CUDA files with nvcc, running them and computing PSNR. Each stage script has a CPU version and a GPU version of the same algorithm and saves its timings and accuracy to results.json. benchmark.py runs everything and prints the summary table.

## Slide 19: Stage 1 code: filtered back projection
MEMBER 4 · IMPLEMENTATION & VISUALISATION
Step 1: ramp filter with cuFFT (Python)
def filter_gpu(sino_t): # [S, A, D] on GPU
D = sino_t.shape[-1]
size, h = ramp(D) # h = 2|f|, padded
F = torch.fft.fft(sino_t, n=size, dim=-1) * h
return torch.fft.ifft(F, dim=-1).real[..., :D]
Step 2: back-projection kernel (CUDA)
__constant__ float c_cos[2048], c_sin[2048];
__global__ void backproject(const float* sino, float* img,
int A, int D, int N) {
int col = blockIdx.x*blockDim.x + threadIdx.x;
int row = blockIdx.y*blockDim.y + threadIdx.y;
int s = blockIdx.z; float acc = 0.f;
for (int a = 0; a < A; ++a) {
float t = y*c_cos[a] - x*c_sin[a] + D/2;
int i = floorf(t); float w = t - i;
acc += (1-w)*__ldg(p+i) + w*__ldg(p+i+1);
}
img[s][row][col] = acc * PI / (2*A); }
What happens
Ramp filter |f| sharpens each projection; without it the image is blurred
Each thread owns one pixel (x, y) of one slice s and loops over all 256 angles
t = position where the pixel projects onto the detector; linear interpolation between the 2 nearest bins
cos/sin tables in constant memory (computed once on the host)
__ldg reads the sinogram through the read-only cache
Grid 16 × 16 × 128 blocks of 16 × 16 → every pixel of every slice in one launch
Notes: Stage one in code. First the ramp filter: FFT each projection, multiply by the absolute frequency, inverse FFT, all batched on the GPU with cuFFT through PyTorch. Then our CUDA kernel: every thread reconstructs one pixel of one slice. It loops over the 256 angles, computes where its pixel lands on the detector, interpolates the filtered value and adds it up. cos and sin values come from constant memory. One launch of 8.4 million threads reconstructs the whole 128-slice volume in 6.8 ms.

## Slide 20: Stage 2 code: iterative MRI reconstruction
MEMBER 4 · IMPLEMENTATION & VISUALISATION
def make_mask(n, accel=4, centre_frac=0.08):
keep[n//2 - c//2 : n//2 + c//2] = True # centre lines
keep[random other lines] = True # total n/4
def cs_recon(y, mask, iters=200, lam=0.005):
x = ifft2c(y).real # zero-filled start
for _ in range(iters):
x = x - lam * tv_grad(x) # 1) smooth noise/aliasing
k = fft2c(x) # 2) to k-space
k = k*(1-mask) + y*mask # 3) keep measured data
x = ifft2c(k).real # 4) back to image
return x
What each step does
Mask keeps 25% of k-space lines: the centre (contrast) + random lines
tv_grad: gradient of total variation, which penalises noise and streaks but keeps edges
Data consistency: measured k-space values are put back exactly every iteration
200 iterations × 2 FFTs = 400 FFTs per slice
Same function runs on CPU or GPU: tensors on device='cuda' make every FFT a cuFFT call
Notes: This is compressed sensing in a few lines. We start from the zero-filled image, then repeat 200 times: take a small step that reduces total variation, which removes noise and aliasing streaks while keeping edges; go to k-space; overwrite the lines we actually measured, so the image always agrees with the scanner data; and come back. That is 400 FFTs per slice. The same code runs on the CPU or the GPU just by where the tensors live; on the GPU every FFT goes to cuFFT, giving 7.0×.

## Slide 21: Stage 4 code: training and running the U-Net on the GPU
MEMBER 4 · IMPLEMENTATION & VISUALISATION
model = UNet().to('cuda').to(memory_format=torch.channels_last)
opt = torch.optim.Adam(model.parameters(), 1e-3)
scaler = torch.amp.GradScaler('cuda')
X, Y = torch.from_numpy(xtr).cuda(), torch.from_numpy(ytr).cuda()
def train_step(x, y):
opt.zero_grad(set_to_none=True)
with torch.autocast('cuda', dtype=torch.float16):
out = model(x)
loss = bce(out, y) + dice_loss(out.float(), y)
scaler.scale(loss).backward() # avoid FP16 underflow
scaler.step(opt); scaler.update()
# inference
with torch.no_grad(), torch.autocast('cuda', torch.float16):
mask = model(X_test) > 0
Implementation details
Whole dataset copied to the GPU once (2,000 × 128² floats ≈ 131 MB), so no PCIe traffic per batch
autocast runs convolutions in FP16 on Tensor Cores; loss stays FP32
GradScaler multiplies the loss so small FP16 gradients do not become zero
channels_last memory layout = cuDNN's fastest format
Lesion generator: body ellipse + 2–3 organs + 1–3 lesions (±0.12–0.2 intensity), blur σ = 1, noise σ = 0.04
107.3 s
CPU epoch
12.4 s
GPU epoch
310 s
Total GPU training
0.909
Test Dice
Notes: The U-Net is implemented in PyTorch. The key GPU details: we copy the whole training set to GPU memory once so batches never cross PCIe; autocast runs the convolutions in half precision on Tensor Cores; the gradient scaler prevents tiny half-precision gradients from rounding to zero; and channels_last is the layout cuDNN prefers. One epoch takes 107.3 s on the CPU and 12.4 s on the GPU.

## Slide 22: Stage 5 code: 3D visualisation by ray casting
MEMBER 4 · IMPLEMENTATION & VISUALISATION
Equations
MIP (top row): pixel = max over the ray of v(sample)
Volume rendering (bottom): C = Σᵢ cᵢ · αᵢ · Πⱼ<ᵢ (1 − αⱼ), front-to-back
Transfer function: α = 0.25 · clamp((v − 0.25)/0.35, 0, 1) + 0.004 · [v > 0.08] → bone opaque, soft tissue faint
Each view: rotate the volume with trilinear grid_sample, then march along depth
def dvr(v, opacity=0.25): # v: [1,1,D,H,W] on GPU
d = v.clamp(0, 1)
alpha = opacity*((d-0.25)/0.35).clamp(0,1) + 0.004*(d>0.08)
trans = torch.cumprod(torch.cat([ones, 1-alpha[:,:,:-1]], 2), 2)
return (d * alpha * trans).sum(2) # one value per ray
for angle in range(0, 360, 10): # 36 views
frame = dvr(rotate(volume, angle))
69 fps
on GPU vs 2.2 fps on CPU (31×), real head CT 256 × 226 × 256
Notes: For 3D views, each screen pixel shoots a ray through the volume. Maximum intensity projection keeps the brightest sample. Volume rendering blends samples front to back: each sample adds its brightness times its opacity times how much light still gets through. The transfer function makes bone opaque and soft tissue almost transparent, which reveals the skull. The cumulative product computes the transmittance for all rays at once, so every ray is processed in parallel.

## Slide 23: Outputs: original, filtered and segmented images
MEMBER 4 · IMPLEMENTATION & VISUALISATION
Original: noisy CT (σ = 0.08)
Filtered: Gaussian 5³ on GPU
Original: real head CT
Segmented: Otsu air / tissue / bone
Original: lesion slice
Segmented: U-Net (dashed) vs truth
MRI reconstructed on GPU
3D volume rendering
Notes: These are the actual outputs of our pipeline, in pairs: original then processed. Noisy CT and its filtered version; the real head CT and its threshold labels; a lesion slice and the U-Net outline compared with the truth; and the MRI and 3D rendering results.

## Slide 24: Validation: GPU and CPU give the same answer
MEMBER 4 · IMPLEMENTATION & VISUALISATION
Stage | Check | Max ¦CPU − GPU¦ | Quality vs ground truth
1 CT reconstruction (128 slices) | same algorithm, compare volumes | 2.5e-3 | PSNR 29.5 dB vs phantom
2 MRI iterative recon | same PyTorch code on both devices | 4.1e-6 | PSNR 25.6 dB (zero-filled 22.8)
3 Gaussian filter 256³ | SciPy vs our tiled kernel | 7.2e-7 | PSNR 21.9 → 25.3 dB
4a Otsu threshold 59 M voxels | histogram + labels | 0 voxels differ | histograms identical: yes
4b U-Net | same trained weights | — | Dice 0.909 on 200 test slices
5 Volume rendering | same PyTorch code | 1.9e-3 | visually identical frames
Metrics used
Max abs. difference: largest voxel-wise gap; ~10⁻³–10⁻⁷ = floating-point rounding only (float32, different summation order)
PSNR = 10 · log₁₀(range² / MSE) dB, higher is better
Dice = 2|A ∩ B| / (|A| + |B|), 1 = perfect overlap
Notes: Speed means nothing if the answer changes, so every stage is checked. Differences between CPU and GPU are at floating-point rounding level, because the GPU adds numbers in a different order. The threshold stage matches exactly: identical histograms and zero different labels out of 59 million voxels. Quality against ground truth uses PSNR for images and Dice for masks; the formulas are below.

## Slide 25: Benchmark design: how we measured fairly
MEMBER 5 · PERFORMANCE EVALUATION
Warm-up
first run untimed: CUDA context, cuFFT plans, kernel loading
Time
cudaEvent inside kernels; perf_counter + synchronize in Python
Repeat
3–10 runs, mean reported (1 run for very long CPU cases)
Verify
compare outputs CPU vs GPU every time
cudaEventRecord(e1);
for (int r = 0; r < reps; ++r)
conv_tiled<<<grid, block>>>(dIn, dOut, D, H, W);
cudaEventRecord(e2);
cudaEventSynchronize(e2);
cudaEventElapsedTime(&ms, e1, e2); // GPU clock
printf("tiled_ms %f", ms / reps);
Kernel launches are asynchronous: timing without an event or synchronize would only measure the launch, not the work.
Fairness rules
Same algorithm and data on both sides; float32 everywhere (except U-Net FP16 option)
CPU baselines: NumPy/SciPy (CT, filter, threshold) and PyTorch CPU with 6 threads (MRI, U-Net, render)
Report both: kernel-only time and total time including PCIe copies
Also compare GPU vs GPU (naive vs tiled, global vs shared atomics, cuDNN vs ours)
Scaling tests: 128²–512² CT, 64³–512³ FFT, 64³–256³ filter, 7 M–59 M voxel threshold
Notes: Our benchmark protocol: warm up first, because the first GPU call pays for setup; time with CUDA events, because kernel launches return immediately; repeat and average; and always verify the output. For fairness we report both kernel-only and total time including transfers, and where the CPU library is multi-threaded we let it use all cores. We also compare GPU variants against each other to isolate the effect of each optimisation.

## Slide 26: Results: CPU vs GPU time for every stage
MEMBER 5 · PERFORMANCE EVALUATION
Stage (workload) | CPU | GPU incl. transfers | Speedup
CT reconstruction (128 × 256², FBP) | 11.8 s | 45 ms | 265×
MRI CS recon (10 × 256², 200 iters) | 670 ms | 96 ms | 7.0×
3D denoise (256³, 5³ Gaussian) | 1.2 s | 16 ms | 78×
U-Net inference (128 slices) | 2.2 s | 49 ms | 46×
3D rendering (36 DVR views) | 16.2 s | 523 ms | 31×
Otsu threshold (59 M voxels) | 518 ms | 23 ms | 23×
Pipeline total (5 main stages) | 32.2 s | 728 ms | 44×
Chart: Speedup incl. transfers (×, log scale)
| CT recon | MRI recon | Denoise | Threshold | U-Net infer | Render
Speedup | 265 | 7 | 77.9 | 22.5 | 45.6 | 31.1
Speedup depends on arithmetic per byte: CT back-projection does 256 interpolations per pixel (265×); MRI is many small FFTs with less work each (7×).
Notes: Here is every stage. All GPU times include copying data in and out. The whole five-stage pipeline goes from 32.2 s to 728 ms, 44×. The speedups differ a lot, and the reason is arithmetic intensity: stages that do a lot of maths per byte, like back-projection, gain hundreds of times; stages dominated by memory or small operations gain less.

## Slide 27: Scaling: bigger data → bigger GPU advantage
MEMBER 5 · PERFORMANCE EVALUATION
Chart: CT slice reconstruction, ms (log)
| 128² | 256² | 512²
CPU (NumPy) | 13 | 93.14 | 1271.38
GPU | 0.5 | 0.69 | 1.4
Chart: 3D FFT, ms (log)
| 64³ | 128³ | 256³ | 512³
NumPy | 9.21 | 77.4 | 702 | 6410
PyTorch CPU 6 thr. | 0.316 | 1.63 | 22.1 | 238
cuFFT | 0.045 | 0.25 | 2.5 | 19
Chart: Gaussian filter speedup by size (×)
| 64³ | 128³ | 256³
Tiled kernel | 458 | 443 | 503
Tiled + transfers | 42 | 83 | 78
CT: 26× at 128² → 906× at 512²: small jobs cannot fill 3,840 cores
FFT 512³: 19 ms vs 238 ms (12×); vs NumPy 329×
Threshold: 7.4 M → 59 M voxels, compute speedup 181× → 289×
Notes: Scaling is the key performance lesson. With small inputs the GPU cannot fill its thousands of cores and fixed costs dominate; as the data grows the advantage grows. CT reconstruction goes from about 26 times at 128 pixels to over 900 times at 512. The FFT chart also shows why the baseline matters: compared with single-threaded NumPy cuFFT looks 300 times faster, but against a multi-threaded CPU FFT it is about 12 times.

## Slide 28: Where the GPU time goes: transfers and Amdahl's law
MEMBER 5 · PERFORMANCE EVALUATION
Chart: GPU time split, ms
| CT volume | Denoise 256³ | Threshold 59 M
Upload (H→D) | 28.5 | 5.7 | 16.8
Compute | 13.7 | 2.4 | 1.8
Download (D→H) | 2.5 | 7.4 | 4.4
Amdahl's law
Speedup = 1 / ((1 − p) + p / s)
p = part of the work that is accelerated, s = how much faster it gets
Copies over PCIe are the part that is not accelerated
Denoise: compute alone is 503×, but with copies only 78×
Threshold: 289× → 23×
Fix for the transfer bottleneck | Effect
Keep data on the GPU between stages (chain kernels) | pay upload once, download once per study
Pinned (page-locked) host memory | faster copies, often close to PCIe peak
CUDA streams: copy chunk k+1 while computing chunk k | hides copy time behind compute
Send compact results (uint8 labels, not float32) | 4× less data back (we do this)
Notes: Once the kernels are fast, the copies dominate. For denoising and thresholding, most of the GPU time is moving data over PCIe. Amdahl's law explains it: the overall speedup is limited by the part you did not accelerate. The fixes are standard: keep data on the GPU for the whole pipeline, use pinned memory, overlap copies with compute using streams, and send back compact results, which we already do with 1-byte labels.

## Slide 29: Challenges and limitations
MEMBER 6 · DISCUSSION & CONCLUSION
PCIe transfers
11.8 GB/s measured; 85% of denoise GPU time is copying
GPU memory
8 GB VRAM: a 512³ complex FFT needs 1 GB; big 4D studies need tiling or streaming
Precision
FP16 must be validated; results differ in the last bits because sums are reordered
Our data
2 real scans; CT recon, denoise and lesions use simulated data with known truth
Engineering
Windows build needed MSVC + nvcc; CuPy was blocked by OS security policy, so we used PyTorch + own kernels
Clinical use
patient privacy (HIPAA/GDPR) and FDA/CE approval apply to real deployments
Notes: Honest limitations. Transfers and GPU memory size are the main technical limits. Half precision needs validation. Most of our accuracy tests use simulated data, chosen deliberately for exact ground truth. We also hit practical issues: on Windows the CUDA compiler needs Visual Studio, and the CuPy library was blocked by the operating system's security policy, so we wrote our own kernels instead. Real clinical use adds privacy and regulation.

## Slide 30: Real-world use and future scope
MEMBER 6 · DISCUSSION & CONCLUSION
Already in hospitals and scanners
GPU deep-learning reconstruction in scanners: GE TrueFidelity, Siemens Deep Resolve, Canon AiCE
NVIDIA Clara / Holoscan: GPU platform for medical imaging and devices
MONAI: open-source PyTorch framework for medical AI (segmentation, deployment)
GPU iterative reconstruction allows lower-dose CT with similar image quality
Next steps for our project
GPU-resident pipeline: one upload, all stages on GPU, one download
Pinned memory + CUDA streams to overlap copies and compute
Separable Gaussian (15 instead of 125 ops/voxel) and texture memory for FBP
3D U-Net on real labelled data (Medical Segmentation Decathlon, LIDC)
Multi-GPU / cloud for large studies; TensorRT for faster inference
Impact
Faster scans
4× less MRI data, recon in < 0.1 s
Interactive 3D
69 fps rotating views
AI at the scanner
0.38 ms per slice
Same answers
verified CPU = GPU
Notes: What we built is a small version of what industry already does: major scanner vendors ship GPU-based deep-learning reconstruction, and NVIDIA Clara and MONAI are used in hospitals. Our next steps follow directly from our measurements: keep the data on the GPU, overlap copies with compute, use cheaper separable filters, and train a 3D U-Net on real labelled data.

## Slide 31: Conclusion
MEMBER 6 · DISCUSSION & CONCLUSION
44× faster end to end
32.2 s → 728 ms per study; CT 265×, U-Net 46×, threshold 23×
Same answers
differences only at floating-point rounding; threshold labels identical
Memory decides performance
shared-memory tiling 1.75×, shared-memory histogram 17.3×, PCIe copies dominate simple stages
Pattern → technique
map, stencil, histogram, FFT, gather, ray casting, GEMM each need a different GPU strategy
Notes: To conclude: our GPU pipeline is 44× faster end to end with the same results. The biggest lesson is that memory, not arithmetic, decides GPU performance: shared memory, coalesced access and avoiding PCIe copies. And each image operation maps to a parallel pattern that tells you which GPU technique to use. Thank you.

## Slide 32: References
MEMBER 6 · DISCUSSION & CONCLUSION
Kak & Slaney, Principles of Computerized Tomographic Imaging, IEEE Press, 1988.
Shepp & Logan, “The Fourier reconstruction of a head section,” IEEE Trans. Nuclear Science, 1974.
Otsu, “A threshold selection method from gray-level histograms,” IEEE Trans. Systems, Man, and Cybernetics, 1979.
Lustig, Donoho & Pauly, “Sparse MRI: the application of compressed sensing for rapid MR imaging,” Magn. Reson. Med., 2007.
Ronneberger, Fischer & Brox, “U-Net: convolutional networks for biomedical image segmentation,” MICCAI, 2015.
Eklund et al., “Medical image processing on the GPU: past, present and future,” Medical Image Analysis, 2013.
Kirk & Hwu, Programming Massively Parallel Processors, 4th ed., Morgan Kaufmann, 2022.
Cardoso et al., “MONAI: an open-source framework for deep learning in healthcare,” arXiv, 2022.
Saver, “Time is brain, quantified,” Stroke, 2006.
McDonald et al., radiologist workload study, Academic Radiology, 2015.
NVIDIA, CUDA C++ Programming Guide; cuFFT and cuDNN documentation, 2026.
Stanford Volume Data Archive (CThead, MRbrain), graphics.stanford.edu/data/voldata.
Notes: These are our sources: the classic papers for each algorithm, the GPU programming references, and the public data archive.